## Slide 1: Coding seminar
Lesson 5: Instrument control – PyVISA
Ikue Hirata, PhD
ikue.hirata@iit.it

## Slide 2: Contents
PyVISA

## Slide 3: System flow
VISA:
Virtual Instrument Software Architecture
Your Python code
Visual Basic,
C, LabView
: wrapper

## Slide 4: Instrument setup
Agilent Source Meter
Measuring device
PC

## Slide 5: The first thing to do: RTFM
[1] A.L. Blackler, R. Gomez, V. Popovic, M.H. Thompson, Life Is Too Short to RTFM: How Users Relate to Documentation and Excess Features in Consumer Products, Interact. Comput. 28 (2016) 27–46. doi:10.1093/iwc/iwu023.

## Slide 6: Find the manual
https://www.keysight.com/en/pd-1983602-pn-B2912A/precision-source-measure-unit-2-ch-10-fa-210-v-3-a-dc-105-a-pulse?pm=PL&nid=-33504.978798&cc=IT&lc=ita

## Slide 7: 3 important documents
User Manual
Programming and Syntax Guide

## Slide 8: Check the interface: GPIB/USB/LAN

## Slide 9: Install VISA interface

## Slide 10: PyVISA
https://pyvisa.readthedocs.io/en/latest/

## Slide 11: Install PyVISA

## Slide 12: Measurement procedure
Open instrument
Parameters setup
  Voltage, sweep direction, etc.
Send setup data to instrument
Run measurement
Get result from instrument
Save

## Slide 13: Setup: commands to send?
pia.write(COMMAND)

## Slide 14: Find in manuals

## Slide 15: Measurement procedure
Open instrument
Parameters setup
  Voltage, sweep direction, etc.
Send setup data to instrument
Run measurement
Get result from instrument
Save
 pia = rm.open_resource()
 pia.write(commands)
 pia.write(“:TRIG”)
 pia.write(“FETC?”)

## Slide 16: Study by yourself
PyVISA official document
https://pyvisa.readthedocs.io/en/latest/index.html
Manuals of instruments of your choice